Audity type

By Bexex Global Private Limited

| PREPARED FOR: | xyz jai vihar-343534 |
| --- | --- |
| PREPARED BY: | Bexex Training and Consultancy Services |
| ASSESSOR/AUDITOR: | nakul |
| DATE: | 23rd Jun 2026 |

Bexex Global Private Limited

Registered address: J04, Street No.12, Shiv Ram Park, Nangloi, New Delhi, 110041

Company address:	7th Floor, Awfis Ambience Mall, National Highway - 8, Gurugram, 122002

Email: info@bexexglobal.com

Phone: +91-9582390987

Website: www.bexexglobal.com

Issue and Revision Status

| Reference No. | Revision No. | Revision Date | Remarks |
| --- | --- | --- | --- |
| Bexex/FSAR/001 | R00 | 21st Sep. 2024 | New Template |
| Authorized By: |  | Email: |  |
| Sanjay Gupta [+91-9582390987] |  | info@Bexexindia.com |  |

Revision Record

| Revision No. | Date | Revision History | Prepared By | Reviewed By | Authorized By |
| --- | --- | --- | --- | --- | --- |
| R00 | 21.09.2024 | First issuance | Amit Singh | Pushpender Sharma | Sanjay Gupta |

Disclaimer:

This report is confidential to the Client, and we accept no responsibility of whatsoever nature to third parties to whom this report, or any part thereof, is made known. Any such party relies on the report at their own risk.

This inspection has been carried out to the best of our knowledge & our responsibility is limited to the exercise of reasonable care. This Report of Findings reflects our findings at the time & place of inspection and is not intended to relieve the seller from their contractual obligations.

This document follows the generic content of audit report preparation in reference to:

- NBC 2016, Part 4 – Fire & Life Safety: Comprehensive fire safety norms for all occupancies.

- The Factories Act, 1948 & State Factory Rules: Mandates fire prevention and emergency measures.

- IS Standards by BIS:

  - IS 2190: Fire extinguisher selection & maintenance

  - IS 3844: Internal fire hydrant systems

  - IS 8758: Manual fire alarm systems

- Local Building Bye-Laws & Fire Department Guidelines: Including Fire NOC requirements.

- Insurance/ TAC Guidelines: Risk assessment and system adequacy as per insurer norms.

Copying this report without the permission is not permitted.

TABLE OF CONTENTS

1.	EXECUTIVE SUMMARY	4

2.	INTRODUCTION	5

2.1	PROJECT BACKGROUND	5

2.2	OBJECTIVE AND SCOPE OF WORK	5

2.3	LIMITATIONS AND DISCLAIMER	6

3.	APPROACH & METHODOLOGY	7

3.1	REGULATION & REFERENCE GUIDELINES	7

3.2	ASSESSMENT METHOD	7

3.3	PRIORITISING ACTIONS / RECOMMENDATION	8

4.	RESULTS SUMMARY	9

4.1	SUMMARY OF RESULTS	9

4.2	SUMMARY OF NOTEWORHTY POINTS	10

4.3	SUMMARY OF NON-CONFORMANCE	10

4.4	SUMMARY OF RECOMMENDATION	12

5.	APPENDICES	13

5.1	Appendix A: EMERGENCY EVACUATION PLANS	13

5.2	APPENDIX B: COPY OF FIRE NOC	14

5.3	APPENDIX c: PICTORIAL EVIDENCES	15

6.	DISCLAIMER	16

# EXECUTIVE SUMMARY

Bexex Training and Consultancy Services, (herein after referred to as ‘Bexex) is commissioned by company name (hereinafter referred to as the ‘Client’) to conduct a Audit Based on Audit type at their facility located at address (hereinafter referred to as the ‘Site’).

The audit was conducted on 23rd Jun 2026 to assess the level of compliance with applicable fire safety regulations, including the National Building Code of India (NBC) Part 4, relevant IS standards, and local fire authority guidelines. The assessment included:

- A review of fire safety documentation, equipment maintenance records, and statutory approvals

- Physical inspection of fire detection, alarm, and suppression systems

- Evaluation of means of escape, emergency lighting, and fire exits

- Interaction with personnel to assess awareness and emergency preparedness

The purpose of this  Audit Based on IS 14489 & Other Requirements is to evaluate the effectiveness of fire prevention, protection, and response systems in place within the building, with the aim of ensuring life safety, property protection, and regulatory compliance. The assessment identifies potential fire hazards and evaluates the adequacy of existing controls, infrastructure, and emergency preparedness measures.

The scope of this assessment covers all operational areas of the site and related common spaces accessed by employees and visitors, including entry points, work zones, utility areas, storage areas, and emergency evacuation routes.

The assessment was conducted by the Bexex team using structured checklists based on applicable fire safety codes and standards. The evaluation included inspection of active and passive fire protection systems, availability and condition of firefighting equipment, signage, emergency exits, and interviews with designated safety personnel.

It is to be emphasized that all findings should be given due attention and be ensured that the solutions are documented and that the observations are brought to a satisfactory closure.

# INTRODUCTION

## PROJECT BACKGROUND

Bexex Training and Consultancy Services, (herein after referred to as ‘Bexex) is commissioned by company name   (hereinafter referred to as the ‘Client’) to conduct  a Audit Based on at  audit type their facility located at address (hereinafter referred to as the ‘Site’).

This report presents the approach and findings of the Assessment carried out by Bexex for the client’s premise.

## OBJECTIVE AND SCOPE OF WORK

The objective of this Audit/Assessment is to evaluate the sites’s preparedness in preventing, detecting, and responding to fire-related incidents, ensuring the safety of occupants and protection of assets in accordance with applicable fire safety codes and standards.

The scope of this assessment is limited to the areas of the site occupied and accessed by the Client’s employees and visitors. This includes all major workspaces, common areas, utility zones, and circulation paths from the point of entry to various functional sections of the facility.

The general information of this audit is as summarized below:

| Site Name: | Light |
| --- | --- |
| Site Address: | jai vihar-343534 |
| Owner/Employer/In-charge of Workplace | kon |
| Responsible Person: | daya |
| Date (s) of Audit: | 23rd Jun 2026 |
| Audit Undertaken by: | nakul |

## LIMITATIONS AND DISCLAIMER

This report is issued by Bexex under its General Terms and Conditions of Service, available at [Insert Link/Location]. Attention is specifically drawn to the limitations of liability, indemnification, and jurisdictional clauses contained therein.

The findings presented in this report are the result of Bexex’s professional judgement, applied in good faith and based on information made available by the Client as well as on-site observations during the audit/assessment. These findings reflect conditions observed on the date of the assessment and are subject to the scope, time, and resource constraints agreed upon.

This report is based solely on visual inspection, document review, and personnel interaction conducted on the date of the site visit. Bexex is not liable for any hidden deficiencies or conditions that may emerge after the audit date or were not evident during the audit.

This document is intended exclusively for the use of the Client. Any unauthorized use, reproduction, or alteration of this report is strictly prohibited and may be subject to legal action.

In addition, the information provided in this report is not constitute legal or statutory certification and should not be interpreted as legal advice.

# APPROACH & METHODOLOGY

## REGULATION & REFERENCE GUIDELINES

The fire safety audit has been conducted with reference to the following regulations, codes, and standards:

- National Building Code of India (NBC) – Part 4: Fire and Life Safety

- Relevant Indian Standards (IS) pertaining to fire protection systems and equipment (e.g., IS 4489, IS 2190, IS 2189)

- Guidelines issued by local fire authorities and the Directorate of Fire Services

- Client-specific fire safety policies, protocols and site emergency plans

These guidelines collectively outline the minimum fire safety requirements for the design, maintenance, and operational control of buildings to safeguard life and property. The NBC Part 4 forms the primary reference framework, supplemented by applicable IS codes and local regulations.

Where more stringent local regulations are applicable, they take precedence over general standards. In cases where local codes are absent or minimal, the NBC and IS standards serve as the baseline for compliance.

Bexex auditors collected evidence through document review, physical inspection of fire safety installations, verification of maintenance records, and discussions with responsible site personnel. Non-compliances were photographed with prior consent from the client.

## ASSESSMENT METHOD

A structured checklist was used to evaluate fire prevention, detection, protection, evacuation measures, and emergency preparedness in alignment with applicable national regulations, including NBC Part 4, relevant IS standards, and local fire safety norms, which was used to conduct  Audit Based on IS 14489 & Other Requirements.

The checklist was adapted to reflect specific site conditions and supplemented with best practices where local regulations were silent or not explicit. Additional criteria were included where beneficial to enhance fire risk mitigation, even if not mandated by law or client policy.

The assessment process involved a combination of document review, physical inspection of fire safety systems, validation of operational practices, and consultation with site personnel responsible for fire safety.

During the on-site audit, Bexex auditor followed a journey of sequence, focusing on the fire safety categories listed in Table 2.1 below:

Table 2.1 - Category Overview

| Categories | Title |
| --- | --- |
| Category 1 | General Safety Audit |
| Category 2 | LABOUR & WORKFORCE MANAGEMENT |
| Category 3 | OCCUPATIONAL HEALTH & HYGIENE |
| Category 4 | MACHINERY & EQUIPMENT SAFETY |
| Category 5 | ELECTRICAL & ENERGY SAFETY |
| Category 6 | LIFTING, STORAGE & MATERIAL HANDLING |
| Category 7 | FIRE & EMERGENCY PREPAREDNESS |
| Category 8 | HAZARDOUS SUBSTANCES & ENVIRONMENT |
| Category 9 | PERMITS, PROCEDURES & DOCUMENTATION |

## PRIORITISING ACTIONS / RECOMMENDATION

Actions / recommendations to remediate the findings of the assessment were prioritized based on the above category as summarized in Table 2.2 below:

Table 2.2 - Actions / Recommendation Priority

| Risk Category | Score | Risk Level | Interpretation |
| --- | --- | --- | --- |
| Category A | Score >85% | Low | Good Fire Safety Measures implementation |
| Category B | Score from 65% to 84% | Medium | Satisfactory Fire Safety Measures implemented - NEEDS IMPROVEMENT |
| Category C | Score <=65% | High | NG Fire Safety Measures - NEEDS IMMEDIATE IMPROVEMENT |

# RESULTS SUMMARY

## SUMMARY OF RESULTS

Based on the outcome of on-site assessment:

- Overall assessment score & classification - Actual for all Categories is 1, which is 33% of total score. Hence, it lies in risk category Category C and have 1 risk level.

The assessment result for each of the accessibility topics are summarized according to the following system of categories:

Criteria for assessing compliance:

| Priority Category | Description |
| --- | --- |
| Yes | Compliance with current requirements baseline provisions |
| No | Non- Compliance with requirements baselines provisions |
| N/A | Non-Applicable |

Table 3.1 - Summary of Results

| S.No | Category | Total No. of Checkpoints | No. of checkpoints applicable | Score Obtained |
| --- | --- | --- | --- | --- |
| 1 | General Safety Audit | 13 | 3 | 1 |
| 2 | LABOUR & WORKFORCE MANAGEMENT | 9 | 0 | 0 |
| 3 | OCCUPATIONAL HEALTH & HYGIENE | 10 | 0 | 0 |
| 4 | MACHINERY & EQUIPMENT SAFETY | 49 | 0 | 0 |
| 5 | ELECTRICAL & ENERGY SAFETY | 41 | 0 | 0 |
| 6 | LIFTING, STORAGE & MATERIAL HANDLING | 52 | 0 | 0 |
| 7 | FIRE & EMERGENCY PREPAREDNESS | 49 | 0 | 0 |
| 8 | HAZARDOUS SUBSTANCES & ENVIRONMENT | 34 | 0 | 0 |
| 9 | PERMITS, PROCEDURES & DOCUMENTATION | 41 | 0 | 0 |
| Cumulative | Total | 298 | 3 | 1 |
| Overall Assessment Score |  |  |  |  |

Figure 3.1 - Result Summary

## SUMMARY OF NON-CONFORMANCE

Based on the outcome of the assessment, findings across various categories have been consolidated below. These findings are non-conformance against the relevant criteria to focuses on strengthen fire prevention, detection, protection, and emergency response measures within the facility. Implementing measures against these findings will enhance overall fire safety preparedness and foster a culture of proactive risk management among stakeholders and facility managers.

Table 3.2 - Summary of Major Findings / Non-conformances and Recommendations

| S.No. | category | Criticality | Evaluations | Pic. No. |
| --- | --- | --- | --- | --- |
| 1 | Chemical - good | No | No |  |
| 2 | Machinery - good | No | No |  |
| 3 | Workforce - hm... | No | No |  |
| 4 | General Safety Audit - Floor surfaces are even, non-slippery and free from oil, water or any spillage - this is good. | High | No |  |
| 5 | General Safety Audit - Emergency lighting is installed at exits, stairways and critical areas - not correct this | Medium | No |  |

## SUMMARY OF RECOMMENDATION

Based on the assessment, the following recommendations are made to improve compliance and enhance fire safety:

- Chemical - sodium - okks

- Machinery - road roller - not goods

- Workforce - R1 / it is godd - goods

- Preventive Management - General Safety Audit / RISKS RELATED TO PATHWAYS & FLOOR CONDITIONS - I give you the advice.s

- Preventive Plan - General Safety Audit / RISKS RELATED TO LIGHTING & VISIBILITY - take photo propers

- No recommendation required.s

- No recommendation required.s

- No recommendation required.s

- No recommendation required.s

- No recommendation required.s

- No recommendation required.s

Implementing these recommendations can help improve accessibility for all employees and stakeholder

## APPENDIX c: PICTORIAL EVIDENCES

Link these pictures no. with table 3.2.

| Description of Findings |  | Picture |  |
| --- | --- | --- | --- |
| Pic 01: | Chemical - sodium - good | Pic 01: | Machinery - road roller - good |
| Pic 01: |  | Pic 01: | Workforce - R1 / it is godd - hm... |
| Pic 01: | Preventive Management - General Safety Audit / RISKS RELATED TO PATHWAYS & FLOOR CONDITIONS - Floor surfaces are even, non-slippery and free from oil, water or any spillage - this is good. | Pic 01: | Preventive Plan - General Safety Audit / RISKS RELATED TO LIGHTING & VISIBILITY - Emergency lighting is installed at exits, stairways and critical areas - not correct this |
| Image not uploaded |  | Image not uploaded |  |
| Pic 01: | No non-conformance recorded. | Pic 01: | No non-conformance recorded. |
| Description of Findings |  | Picture |  |
| Image not uploaded |  |  |  |
| Pic 01: | No non-conformance recorded. | Pic 01: | No non-conformance recorded. |
| Image not uploaded |  | Image not uploaded |  |
| Pic 01: |  | Pic 01: | No non-conformance recorded. |
| Image not uploaded |  | Image not uploaded |  |
| Pic 01: | No non-conformance recorded. | Pic 01: | No non-conformance recorded. |
| Image not uploaded |  | Image not uploaded |  |
| Pic 01: | No non-conformance recorded. | Pic 01: | No non-conformance recorded. |

# DISCLAIMER

This report has been prepared by Bexex ("the Assessor") with reasonable skill, care, and diligence, based on available documentation, on-site observations, and discussions with relevant personnel during the audit. The contents reflect findings as of the date of the site visit and assessment.

- Scope and Reliance: This report is intended solely for the Client named in the audit and for the purposes outlined in the proposal or scope of work. The Assessor does not accept liability for any use or interpretation of the report beyond its stated scope, purpose, or validity period. No third party may rely on this report without the prior written consent of the Assessor.

- Limitation of Liability: Except in the case of death or personal injury caused by proven negligence under Indian law, the liability of the Assessor for any claim-whether in contract, tort, or otherwise-shall be limited to the professional fees paid by the Client for the preparation of this report. The Assessor shall not be liable for any indirect, incidental, consequential, punitive, or special damages including, but not limited to, business interruption, loss of profits, or third-party claims.

- Accuracy and Limitations of Data: The findings in this report are based on the information provided by the Client, physical observations during the site audit, and documents made available at the time of the visit. The Assessor shall not be liable for any deficiencies or inaccuracies arising from incomplete, inaccurate, or misleading information supplied by the Client or its representatives.

- Validity of Report: The conclusions drawn are valid only for the time period stated in the report and under the site conditions that prevailed at the time of the audit. Any significant changes in occupancy, layout, usage, or fire safety systems may render parts of this report invalid unless re-evaluated.

- Interpretation of Recommendations: The recommendations provided are based on professional judgment and good industry practices, taking into account Indian regulations such as the National Building Code (NBC) of India, IS standards, and local fire safety requirements. The report does not constitute a legal opinion or approval under any statutory certification scheme unless explicitly stated.

- Jurisdiction: This disclaimer and any dispute arising from or in connection with this report shall be governed by and construed in accordance with the laws of India. The courts of New Delhi shall have exclusive jurisdiction.

Assessor/ Auditor

Vishal Sahu

------------------ End of Report -----------------